## Slide 1: CARRIAGE HOUSE EXPANSION AT THE GROVER CLEVELAND BIRTHPLACE
Design and Contract Documents – March 2013
Connolly & Hickey Historical Architects, LLC
Photo Credit: Connolly & Hickey Historical Architects, 2012

## Slide 2: Program Requirements
Restore the existing Carriage House to serve as a meeting space to support museum and visitor activities at the Grover Cleveland Birthplace.
Design an addition that includes a welcoming area, gift shop, meeting space, docent area and accessible restrooms.
Deign new addition to complement the Carriage House’s architecture and work with the site and its current amenities.
Incorporate new technologies and materials in the design of the new addition that are sustainable.

## Slide 3: Site Plan
Site Diagram showing Birthplace, Carriage House and proposed addition.
CARRIAGE HOUSE
BIRTHPLACE
ADDITION
BLOOMFIELD AVENUE
N

## Slide 4: Ground Floor Plan
ASSEMBLY ROOM
LOBBY
GIFT SHOP
MEETING ROOM
DOCENT
STORAGE
MECH
WOMEN
MEN
HALL
N

## Slide 5: South (front) Elevation
CARRIAGE HOUSE
PROPOSED ADDITION

## Slide 6: West Elevation
CARRIAGE HOUSE
ADDITION
Restore wood siding at Carriage House.
Install hard board siding of recycled materials at addition.
Restore original windows at Carriage House.
Install new thermal-insulated wood windows at the addition.
Provide separate entrance to accessible restrooms.

## Slide 7: North Elevation
PROPOSED ADDITION

## Slide 8: East Elevation
Restore wood shingle roof at Carriage House.
Install new asphalt shingle roof at addition.
Provide roof drainage system at both building components.
Restore fenestration pattern of the Carriage House
Create covered visitor entrance on front elevation.
PROPOSED ADDITION
CARRIAGE HOUSE

## Slide 9: Interior Features
CARRIAGE HOUSE – interior elevations
NORTH
SOUTH
EAST
WEST
Restore the horizontal wood boards at ground floor.
Restore carriage and man doors.
Use recycled lumber for new flooring.
Utilize the exterior walls for displays.
Install general and exhibit lighting to support flexible use of space.

## Slide 10: Interior Features
Use products in new addition with following attributes:
Post-and pre-consumer recycled content.
Made in America.
Low Volatile Organic Compounds (VOCs).
Bio-based tile for flooring
Porcelain tile for walls in restrooms
Incorporate traditional details, such as wood door and window surrounds, picture mouldings and trim.
Wood picture moulding

## Slide 11: Estimates of Probable Cost
DIV. No. | DIVISION | COST
1 | General Requirements | $ 106,900.00
2 | Site Work | $ 54,700.00
3 | Concrete | $ 64,465.00
4 | Masonry | $ 29,440.00
5 | Metals | $ 1,500.00
6 | Carpentry | $ 171,700.00
7 | Moisture Protection | $ 72,800.00
8 | Doors & Windows | $ 58,750.00
9 | Finishes | $ 76,010.00
10 | Specialties | $ 22,875.00
11 | Equipment | $0.00
12 | Furnishings | $ 1,800.00
13 | Special Construction | $ 0.00
14 | Conveying Systems | $ 0.00
15 | Mechanical | $ 83,350.00
16 | Electrical | $ 95,200.00
 | TOTAL | $ 839,490.00

## Slide 12
Carriage House Expansion
at the Grover Cleveland Birthplace